- Pole Mounted Transformer Quote

| Customer*: |  |
| --- | --- |
| Delivery Location*: |  |
| E-Mail*: |  |
| Phone*: |  |

TRANSFORMER BASIC INFORMATION

| KVA: |  | Description*: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Loss Limits: |  | NO LOAD LOSS |  |  |  |  | LOAD LOSS |  |  |
| Loss Formula: |  |  | x price + |  |  | x NO LOAD LOSS + |  |  | x LOAD LOSS |
| Quantity |  |  |  |  |  |  |  |  |  |

DETAIL FOR TRANSFORMER KVA FROM      TO      .

Remark：■ Select   □ No

| High Voltage (required): | Number of HV Bushings |
| --- | --- |
| □ 7200 (95 KV BIL) | □ One |
| □ 7620 (95 KV BIL) | □ Two |
| □ 7970 (95 KV BIL) | HV Taps |
| □ 14400 (125 KV BIL) | □ No Taps |
| □ 19920 (150 KV BIL) | □ 2 Taps 2.5% Above and Below |
| □ 7200 x 14400 (125 x 125 KV BIL) | □other |
| □ other |  |
| Tap Switch: | Tank & Cover Material: |
| □ Lever Handle | □ Mild Steel |
| □ Hookstick Operable Handle | □ 304 Stainless Steel |
| Arrester for HV: | □ "Costal" Mild Tank w/ SS Fittings |
| □ No Lighting Arrester | Low Voltage (required): |
| □ Polymer Normal Duty MOV Arrester | □ 120/240 3 LV BU |
| □ Heavy Duty Polymer MOV Arrester | □ 240/480 3 LV BU |
| HV Arrester Location: | □ 277/480Y 2 LV BU |
| □ H1 Bushing | □ 120 ONLY 2 LV BU |
| □ H2 Bushing | □ 240 ONLY 2 LV BU |
| □ H1 AND H2 Bushing (two arresters) |  |
| Protection for HV: | Arrester of LV: |
| □ Conventional - No Fuse | □ No Secondary Surge Arrester |
| □ Internal Expulsion Fuse (each HV BSG) | □ External Secondary Surge Arrester |
| □ Internal CL Fuse w/ Expulsion Link | Protection for LV: |
| HV Bushing: | □ Conventional - No Breaker |
| □ Standard HV Bushing | □ CSP - Breaker w/ O'load & Signal Light |
| □ Extra Creep HV Bushing | LV Bushing: |
| Wildlife Protection: | □ ANSI w/ Porcelain Insulator |
| □ No Birdguard | □ 4 Hole Spades (H-Spades) |
| □ Birdguard (type) | □ other |
| Cover/Band Insulation | HV winding Materials: |
| □ 3KV Insulation | □ Copper |
| □ 10KV Insulation | □ Aluminum |
| LV Neutral Ground: | LV winding Materials: |
| □ Strap on 1 HV & No Strap on 2 HV BSG | □ Copper |
| □ Furnish LV Neutral Strap on 2 HV Bushing | □ Aluminum |
| Hangers: | Core Materials: |
| □ 1 Set of Hanger Brackets | □ C.R.G.O(Silicon steel) |
| □ 2 Sets of Hanger Brackets | □ Amorphous metal Core |
| Pressure Relief: | Markings: |
| □ 10PSI 35SCFM | □ KVA Decal |
| □ other | □ Other (type) |
| Nameplate: | Limits: |
| □ Aluminum Nameplate | □ No Special Requirements |
| □ Stainless Steel Nameplate | □ Tank Height Limit: |
| □ Engrave Customer Part # | □ Tank Diameter Limit: |
|  | □ Weight Limit: |